{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":18,"rows_kept":7,"merged":[[0,0,0,18]],"flags":["formulas_cached_only"]}
["附件4：阳江市2021年生活垃圾处理企业监督性监测结果"]
["企业名称","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","流量(m³/s)","水温(°C)","进口浓度","排放浓度","上限","下限","单位","是否超标","超标倍数","备注","是否有评价限值"]
["东莞市园林绿化工程有限公司（阳西县生活垃圾卫生填埋场）","环境卫生管理","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","总排放口(DW001)","化学需氧量","2021-12-01",0,null,null,5,100,null,"mg/L","否",null,null,"是"]
["东莞市园林绿化工程有限公司（阳西县生活垃圾卫生填埋场）","环境卫生管理","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","总排放口(DW001)","总磷（以P计）","2021-12-01",0,null,null,0.02,3,null,"mg/L","否",null,null,"是"]
["东莞市园林绿化工程有限公司（阳西县生活垃圾卫生填埋场）","环境卫生管理","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","总排放口(DW001)","总铬","2021-12-01",0,null,null,"<0.03",0.1,null,"mg/L","否",null,null,"是"]
["东莞市园林绿化工程有限公司（阳西县生活垃圾卫生填埋场）","环境卫生管理","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","总排放口(DW001)","氨氮（NH3-N）","2021-12-01",0,null,null,2.27,25,null,"mg/L","否",null,null,"是"]
["东莞市园林绿化工程有限公司（阳西县生活垃圾卫生填埋场）","环境卫生管理","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物特别排放限值","总排放口(DW001)","六价铬","2021-12-01",0,null,null,0.009,0.05,null,"mg/L","否",null,null,"是"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}