{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["废气","废水"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"废气","index":0,"n_rows":49,"n_cols":10,"rows_kept":49,"flags":["formulas_cached_only"]}
["省","市","县","企业名称","监测方式","监测点","监测项目","折算浓度","排放标准","限值上限"]
["广东省","阳江市","阳春市","华润水泥（阳春）有限公司","排放","废气监测点001(DA001)","氮氧化物",158,"水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","华润水泥（阳春）有限公司","排放","废气监测点001(DA001)","二氧化硫","<3","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","华润水泥（阳春）有限公司","排放","废气监测点001(DA001)","颗粒物","<13","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","广东春潭水泥制造有限公司","排放","1#窑尾烟囱028(DA028)","氮氧化物",283,"水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","广东春潭水泥制造有限公司","排放","1#窑尾烟囱028(DA028)","颗粒物","<14","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","广东春潭水泥制造有限公司","排放","1#窑尾烟囱028(DA028)","二氧化硫",0,"水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","阳春海螺水泥有限责任公司","排放","1#窑尾烟囱430(DA430)","二氧化硫","<3","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","阳春海螺水泥有限责任公司","排放","1#窑尾烟囱430(DA430)","氮氧化物",68,"水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","阳春海螺水泥有限责任公司","排放","1#窑尾烟囱430(DA430)","颗粒物","<18","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","广东新兴铸管有限公司","排放","烧结机头废气处理后排放口001(DA001)","颗粒物","<20","钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","广东新兴铸管有限公司","排放","烧结机头废气处理后排放口001(DA001)","二氧化硫",0,"钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","广东新兴铸管有限公司","排放","烧结机头废气处理后排放口001(DA001)","氮氧化物",81,"钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","阳春新钢铁有限责任公司","排放","1#烧结机头废气排放口009(DA009)","二氧化硫",0,"钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","阳春新钢铁有限责任公司","排放","1#烧结机头废气排放口009(DA009)","颗粒物","<20","钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","阳春新钢铁有限责任公司","排放","1#烧结机头废气排放口009(DA009)","氮氧化物",37,"钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","阳江市众鑫环保实业有限公司","排放","沸腾炉烟气排放口001(DA001)","氮氧化物",77,"广东省大气污染物排放限值标准 （完整）(DB44/27—2001)"]
["广东省","阳江市","阳春市","阳江市众鑫环保实业有限公司","排放","沸腾炉烟气排放口001(DA001)","颗粒物","<20","广东省大气污染物排放限值标准 （完整）(DB44/27—2001)"]
["广东省","阳江市","阳春市","阳江市众鑫环保实业有限公司","排放","沸腾炉烟气排放口001(DA001)","二氧化硫",359,"广东省大气污染物排放限值标准 （完整）(DB44/27—2001)"]
["广东省","阳江市","阳春市","阳春市宏鑫环保科技有限公司","排放","熔炼废气排放口001(DA001)","二氧化硫","<3","危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳春市","阳春市宏鑫环保科技有限公司","排放","熔炼废气排放口001(DA001)","氮氧化物",129,"危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳春市","阳春市宏鑫环保科技有限公司","排放","熔炼废气排放口001(DA001)","颗粒物","<26","危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","江城区","广东粤水电新能源装备有限公司","排放","废气排放口2(DA002)","总VOCs",13.5,"表面涂装（汽车制造业）挥发性有机化合物 排放标准(DB44/816-2010)"]
["广东省","阳江市","江城区","广东粤水电新能源装备有限公司","排放","废气排放口2(DA002)","颗粒物",36.4,"广东省大气污染物排放限值(DB4427-2001)"]
["广东省","阳江市","江城区","广东粤水电新能源装备有限公司","排放","废气排放口1001(DA001)","颗粒物",35.2,"广东省 大气污染物排放限值(DB44/27-2001)"]
["广东省","阳江市","阳西县","建华建材（阳江）有限公司","排放","锅炉废气排放口001(DA001)","二氧化硫",197,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","建华建材（阳江）有限公司","排放","锅炉废气排放口001(DA001)","颗粒物",28,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","建华建材（阳江）有限公司","排放","锅炉废气排放口001(DA001)","氮氧化物",152,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","阳西美味鲜食品有限公司","排放","燃煤锅炉(DA001)","氮氧化物",91,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","阳西美味鲜食品有限公司","排放","燃煤锅炉(DA001)","二氧化硫",1,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","阳西美味鲜食品有限公司","排放","燃煤锅炉(DA001)","颗粒物","<20","广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","阳江粤玻实业有限公司","排放","玻璃炉窑排放口001(DA001)","二氧化硫",195,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","阳江粤玻实业有限公司","排放","玻璃炉窑排放口001(DA001)","氮氧化物",1974,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","阳江粤玻实业有限公司","排放","玻璃炉窑排放口001(DA001)","颗粒物",104,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","广东厨邦食品有限公司","排放","废气排放口001(DA001)","二氧化硫",58,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","广东厨邦食品有限公司","排放","废气排放口001(DA001)","氮氧化物",129,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳西县","广东厨邦食品有限公司","排放","废气排放口001(DA001)","颗粒物",18,"广东省锅炉大气污染物排放标准[地标](DB44/765-2019)"]
["广东省","阳江市","阳东区","广东省粤钢新材料科技有限公司","排放","酸洗废气排放口","氯化氢",17.9,"广东省大气污染物排放限值标准 （完整）(DB44/27—2001)"]
["广东省","阳江市","阳东区","阳江嘉合化工有限公司","排放","DA001","甲醛",0.25,"广东省大气污染物排放限值标准 （完整）(DB44/27—2001)"]
["广东省","阳江市","阳东区","阳江嘉合化工有限公司","排放","DA001","非甲烷总烃",2.08,"石油化学工业污染物排放标准(GB31571-2015)"]
["广东省","阳江市","阳东区","阳江嘉合化工有限公司","排放","DA002废气排放口","甲醛",0.25,"大气污染物排放限值(DB44/27-2001)"]
["广东省","阳江市","阳东区","阳江嘉合化工有限公司","排放","DA002废气排放口","非甲烷总烃",2.22,"石油化学工业污染物排放标准(GB31571-2015)"]
["广东省","阳江市","阳东区","阳江市一达医疗废物回收处理有限公司","排放","废气排放口","二氧化硫",85,"危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳东区","阳江市一达医疗废物回收处理有限公司","排放","废气排放口","颗粒物",25,"危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳东区","阳江市一达医疗废物回收处理有限公司","排放","废气排放口","一氧化碳",77,"危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳东区","阳江市一达医疗废物回收处理有限公司","排放","废气排放口","氮氧化物",143,"危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳东区","阳江市一达医疗废物回收处理有限公司","排放","废气排放口","氟化物",0.95,"危险废物填埋污染控制标准(GB18598-2019)"]
["广东省","阳江市","阳东区","阳江市一达医疗废物回收处理有限公司","排放","废气排放口","氯化氢",28.3,"危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳东区","阳江纳谷科技有限公司","排放","DA001废气排放口(DA001)","氯化氢",0,"广东省大气污染物排放限值(DB44/T27-2001)"]

{"sheet":"废水","index":1,"n_rows":77,"n_cols":10,"rows_kept":77,"flags":["formulas_cached_only"]}
["省","市","县","企业名称","监测方式","监测点","监测项目","折算浓度","排放标准","限值上限"]
["广东省","阳江市","阳春市","华润水泥（阳春）有限公司","排放","废气监测点001(DA001)","氮氧化物",158,"水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","华润水泥（阳春）有限公司","排放","废气监测点001(DA001)","二氧化硫","<3","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","华润水泥（阳春）有限公司","排放","废气监测点001(DA001)","颗粒物","<13","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","广东春潭水泥制造有限公司","排放","1#窑尾烟囱028(DA028)","氮氧化物",283,"水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","广东春潭水泥制造有限公司","排放","1#窑尾烟囱028(DA028)","颗粒物","<14","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","广东春潭水泥制造有限公司","排放","1#窑尾烟囱028(DA028)","二氧化硫",0,"水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","阳春海螺水泥有限责任公司","排放","1#窑尾烟囱430(DA430)","二氧化硫","<3","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","阳春海螺水泥有限责任公司","排放","1#窑尾烟囱430(DA430)","氮氧化物",68,"水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","阳春海螺水泥有限责任公司","排放","1#窑尾烟囱430(DA430)","颗粒物","<18","水泥工业大气污染物排放标准(GB4915-2013)"]
["广东省","阳江市","阳春市","广东新兴铸管有限公司","排放","烧结机头废气处理后排放口001(DA001)","颗粒物","<20","钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","广东新兴铸管有限公司","排放","烧结机头废气处理后排放口001(DA001)","二氧化硫",0,"钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","广东新兴铸管有限公司","排放","烧结机头废气处理后排放口001(DA001)","氮氧化物",81,"钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","阳春新钢铁有限责任公司","排放","1#烧结机头废气排放口009(DA009)","二氧化硫",0,"钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","阳春新钢铁有限责任公司","排放","1#烧结机头废气排放口009(DA009)","颗粒物","<20","钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","阳春新钢铁有限责任公司","排放","1#烧结机头废气排放口009(DA009)","氮氧化物",37,"钢铁烧结、球团工业大气污染物排放标准(GB28662-2012)"]
["广东省","阳江市","阳春市","阳江市众鑫环保实业有限公司","排放","沸腾炉烟气排放口001(DA001)","氮氧化物",77,"广东省大气污染物排放限值标准 （完整）(DB44/27—2001)"]
["广东省","阳江市","阳春市","阳江市众鑫环保实业有限公司","排放","沸腾炉烟气排放口001(DA001)","颗粒物","<20","广东省大气污染物排放限值标准 （完整）(DB44/27—2001)"]
["广东省","阳江市","阳春市","阳江市众鑫环保实业有限公司","排放","沸腾炉烟气排放口001(DA001)","二氧化硫",359,"广东省大气污染物排放限值标准 （完整）(DB44/27—2001)"]
["广东省","阳江市","阳春市","阳春市宏鑫环保科技有限公司","排放","熔炼废气排放口001(DA001)","二氧化硫","<3","危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳春市","阳春市宏鑫环保科技有限公司","排放","熔炼废气排放口001(DA001)","氮氧化物",129,"危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳春市","阳春市宏鑫环保科技有限公司","排放","熔炼废气排放口001(DA001)","颗粒物","<26","危险废物焚烧污染控制标准(GB 18484—2020)"]
["广东省","阳江市","阳西县","阳西捷晖净水有限公司","排放","总排放口(DW001)","总磷（以P计）",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)"]
["广东省","阳江市","阳西县","阳西捷晖净水有限公司","排放","总排放口(DW001)","化学需氧量",null,"广东省水污染排放限值标准(DB44/26—2001)"]
["广东省","阳江市","阳西县","阳西捷晖净水有限公司","排放","总排放口(DW001)","总氮（以N计）",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)"]
["广东省","阳江市","阳西县","阳西捷晖净水有限公司","排放","总排放口(1)","悬浮物",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)"]
["广东省","阳江市","阳西县","阳西捷晖净水有限公司","排放","总排放口(1)","pH值",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)",6]
["广东省","阳江市","阳西县","阳西捷晖净水有限公司","排放","总排放口(1)","总氮（以N计）",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)"]
["广东省","阳江市","阳西县","阳西县长江制革有限公司","排放","总排放口(DW002)","pH值",null,"制革及毛皮加工工业水污染物排放标准(GB30486-2013)",6]
["广东省","阳江市","阳西县","阳西县长江制革有限公司","排放","总排放口(DW002)","氨氮（NH3-N）",null,"制革及毛皮加工工业水污染物排放标准(GB30486-2013)"]
["广东省","阳江市","阳西县","阳西县长江制革有限公司","排放","总排放口(DW002)","化学需氧量",null,"制革及毛皮加工工业水污染物排放标准(GB30486-2013)"]
["广东省","阳江市","阳西县","阳西县长江制革有限公司","排放","总排放口(DW004)","六价铬",null,"制革及毛皮加工工业水污染物排放标准(GB30486-2013)"]
["广东省","阳江市","阳西县","阳西县长江制革有限公司","排放","总排放口(DW004)","总磷（以P计）",null,"制革及毛皮加工工业水污染物排放标准(GB30486-2013)"]
["广东省","阳江市","阳西县","阳西县长江制革有限公司","排放","总排放口(DW004)","总铬",null,"制革及毛皮加工工业水污染物排放标准(GB30486-2013)"]
["广东省","阳江市","阳西县","阳西中炬水务有限公司","排放","排放口","总氮（以N计）",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)"]
["广东省","阳江市","阳西县","阳西中炬水务有限公司","排放","排放口","氨氮（NH3-N）",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)"]
["广东省","阳江市","阳西县","阳西中炬水务有限公司","排放","排放口","总磷（以P计）",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)"]
["广东省","阳江市","阳西县","阳西中炬水务有限公司","排放","排放口","悬浮物",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)"]
["广东省","阳江市","阳西县","阳西中炬水务有限公司","排放","排放口","pH值",null,"城镇污水处理厂污染物排放标准[国标](GB18918-2002)",6]
["广东省","阳江市","阳西县","阳西中炬水务有限公司","排放","排放口","化学需氧量",null,"广东省水污染排放限值标准(DB44/26—2001)"]
["广东省","阳江市","阳西县","阳江市科迪恒德环保科技有限公司（阳西县生活垃圾卫生填埋场）","排放","总排污口(DW002)","总铬",null,"生活垃圾填埋场污染控制标准(GB16889-2008)"]
["广东省","阳江市","阳西县","阳江市科迪恒德环保科技有限公司（阳西县生活垃圾卫生填埋场）","排放","总排污口(DW002)","pH值",null,"农田灌溉水质标准(GB 5084—2021)",5.5]
["广东省","阳江市","阳西县","阳江市科迪恒德环保科技有限公司（阳西县生活垃圾卫生填埋场）","排放","总排污口(DW002)","化学需氧量",null,"农田灌溉水质标准(GB 5084—2021)"]
["广东省","阳江市","阳西县","阳江市科迪恒德环保科技有限公司（阳西县生活垃圾卫生填埋场）","排放","总排污口(DW002)","总磷（以P计）",null,"生活垃圾填埋场污染控制标准(GB16889-2008)"]
["广东省","阳江市","阳西县","阳江市科迪恒德环保科技有限公司（阳西县生活垃圾卫生填埋场）","排放","总排污口(DW002)","六价铬",null,"生活垃圾填埋场污染控制标准(GB16889-2008)"]
["广东省","阳江市","阳西县","阳江市科迪恒德环保科技有限公司（阳西县生活垃圾卫生填埋场）","排放","总排污口(DW002)","氨氮",null,"城市污水再生利用城市杂用水水质(GB/T 18920—2020)"]
["广东省","阳江市","阳西县","卡夫亨氏（阳江）食品有限公司","排放","卡夫亨氏阳江工厂污水排放口(DW001)","pH",null,"水污染物排放限值(DB44/26-2001)",6]
["广东省","阳江市","阳西县","卡夫亨氏（阳江）食品有限公司","排放","卡夫亨氏阳江工厂污水排放口(DW001)","悬浮物",null,"水污染物排放限值(DB44/26-2001)"]
["广东省","阳江市","阳西县","卡夫亨氏（阳江）食品有限公司","排放","卡夫亨氏阳江工厂污水排放口(DW001)","总氮（以N计）"]
["广东省","阳江市","阳西县","卡夫亨氏（阳江）食品有限公司","排放","卡夫亨氏阳江工厂污水排放口(DW001)","化学需氧量",null,"水污染物排放限值(DB44/26-2001)"]
["广东省","阳江市","阳西县","卡夫亨氏（阳江）食品有限公司","排放","卡夫亨氏阳江工厂污水排放口(DW001)","氨氮",null,"水污染物排放限值(DB44/26-2001)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","总汞",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","挥发酚",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","五日生化需氧量（BOD5）",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","总砷",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","石油类",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","pH值",null,"医疗机构水污染物排放标准(GB18466-2005)",6]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","总银",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","氨氮（NH3-N）",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","氰化物（总氰化合物）",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","总铬",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","总镉",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","粪大肠菌群",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","悬浮物",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","六价铬",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","阴离子表面活性剂（LAS）",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","动植物油",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","色度",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","化学需氧量",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","总铅",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","阳西总医院人民医院","排放","医疗废水处理后排放监测口","总余氯",null,"医疗机构水污染物排放标准(GB18466-2005)"]
["广东省","阳江市","阳西县","广东厨邦食品有限公司","排放","废水排放口001","总氮（以N计）"]
["广东省","阳江市","阳西县","广东厨邦食品有限公司","排放","废水排放口001","化学需氧量",null,"水污染物排放限值(DB44/26-2001)"]
["广东省","阳江市","阳西县","广东厨邦食品有限公司","排放","废水排放口001","悬浮物",null,"水污染物排放限值(DB44/26-2001)"]
["广东省","阳江市","阳西县","广东厨邦食品有限公司","排放","废水排放口001","总磷（以P计）"]
["广东省","阳江市","阳西县","广东厨邦食品有限公司","排放","废水排放口001","pH",null,"水污染物排放限值(DB44/26-2001)",6]
["广东省","阳江市","阳西县","广东厨邦食品有限公司","排放","废水排放口001","氨氮（NH3-N）"]